## Slide 2
DAVID C. KLONOFF, MD
MEDICAL DIRECTOR, DIABETES RESEARCH INSTITUTE
MILLS-PENINSULA MEDICAL CENTER
SAN MATEO, CALIFORNIA
CLINICAL PROFESSOR OF MEDICINE, UCSF

## Slide 3
Consultant for Ascensia, AstraZeneca, EOFlow, Intarcia, Lifecare, Novo, Roche, Voluntis
DISCLOSURES

## Slide 4
HOW SECURE ARE
DIABETES DEVICES?
Baltimore, Maryland
August 19, 2018

## Slide 5
INADEQUATELY
INSECURE
ADEQUATELY
SECURE

## Slide 6
INADEQUATELY
INSECURE
ADEQUATELY
SECURE
HOW MUCH CYBER RISK
ARE
YOU WILLING TO TAKE?

## Slide 7
INADEQUATELY
INSECURE
ADEQUATELY
SECURE
HOW MUCH CYBER RISK
ARE
YOU WILLING TO TAKE?
LITTLE RISK
A LOT OF RISK
A BREACH IS LIKELY AND DANGEROUS
A BREACH IS UNLIKELY AND NOT DANGEROUS

## Slide 8
WHAT SHOULD WE BE DOING TO INCREASE DIABETES DEVICE SECURITY?
Baltimore, Maryland
August 19, 2018

## Slide 9
MEDICAL DEVICE
CYBERSECURITY IS THE
NUMBER ONE HEALTHCARE
PROBLEM IN THE US,
POTENTIALLY AFFECTING
THE SAFETY AND PRIVACY
OF EVERY AMERICAN

## Slide 11
Lately, Director of National Intelligence, Dan Coats has been saying some pretty scary things. Coats is warning that weaknesses in US cybersecurity could be setting us up for a high-tech replay of the devastating terror attacks of Sept. 11, 2001.

## Slide 12
Patient death from hacked medical devices is
plausible, says top Kaspersky security researcher
March 29, 2018

## Slide 14
Notes: Emergency Care Research Institute

## Slide 15
NUMBER 1 HAZARD: CYBERECURITY THREATS TO HEALTHCARE
DELIVERY

## Slide 16
CONNECTED MEDICAL
DEVICES CONTAIN
VALUABLE ASSETS
REQUIRING EFFECTIVE
CYBERSECURITY
FOR PROTECTION

## Slide 17
Patients’ health
Patients’ health records (includes PHI)
Availability of healthcare services
Intellectual property (research data)
Reputation of the hospital, staff, & co.
ASSETS THAT HOSPITALS AND MEDICAL DEVICE COMPANIES MUST PROTECT FROM SECURITY BREACHES

## Slide 18
DEFINITION OF CYBERSECURITY
Protection of data and command
information transmitted between
connected medical devices from unauthorized disclosure,
modification, and loss of function.

## Slide 19
Confidentiality
Integrity
Availability
THE CIA TRIAD
Protection from unauthorized disclosure
Protection from unauthorized modification
Protection from loss of function

## Slide 20
Cybersecurity is one feature of a
connected medical device –
in addition to safety, effectiveness,
cost, and privacy.
IMPACT OF CYBERSECURITY

## Slide 21
WEARABLE
DIABETES DEVICES
HOSPITAL
DIABETES DEVICES

## Slide 22
Why wearable/implanted diabetes devices must be secure
How to achieve cybersecurity for wearable/implanted diabetes devices
Why hospital diabetes devices must be secure
How to achieve cybersecurity for hospital devices
CYBERSECURITY OF WEARABLE AND HOSPITAL DIABETES DEVICES
OUTLINE

## Slide 23
WHY WEARABLE
OR IMPLANTED DIABETES DEVICES MUST BE SECURE

## Slide 24
WEARABLE
DIABETES DEVICES

## Slide 25
MEDICAL DEVICES HAVE TRADITIONALLY BEEN READ AND CONTROLLED MANUALLY
Cardiac
Sensor
Blood
Pressure
Sensor
Accelerometer
Position Sensor
Smartphone
Hub
Data & Info
Pulse
Oximeter
EMG
Sensor
Continuous
Glucose
Monitor
SENSOR
EFFECTOR

## Slide 26
Cardiac
Sensor
Blood
Pressure
Sensor
Accelerometer
Position Sensor
Smartphone
Hub
Data & Info
Pulse
Oximeter
EMG
Sensor
Continuous
Glucose
Monitor
SENSOR
EFFECTOR
WIRELESSLY CONNECTED WEARABLE OR IMPLANTED SENSOR DEVICES

## Slide 27
WIRELESSLY CONTROLLED WEARABLE OR IMPLANTED THERAPEUTIC EFFECTOR DEVICES
Gastric Stimulator
Deep Brain Neurostimulator
Foot Drop
Implant
Cochlear
Implant
Cardiac
Defibrillator or
Pacemaker
Insulin
Pump
Smartphone
Dedicated
Controller or

## Slide 29
Researcher Jay Radcliffe demonstrates how he can remotely disable his insulin pump.
August 4, 2011

## Slide 31
Season 2, Episode 10

## Slide 33
Johnson & Johnson has announced that one of its insulin pumps is vulnerable to cyber hacking. A hacker in close proximity to the OneTouch Ping insulin pump system could use sophisticated equipment to find the unencrypted radio signal and program the pump to supply insulin. The risk to patients is extremely low, according to J&J.
COORDINATED
DISCLOSURE
BY RAPID7
J&J Warns Insulin Pumps Vulnerable to Cyber Hacking
BUSINESS

## Slide 34
TURN OFF REMOTE CONTROL
LIMIT SIZE OF A BOLUS
ENABLE VIBRATION WITH BOLUS
REGULARLY REVIEW BOLUS DOSING
COORDINATED
DISCLOSURE
BY RAPID7
J&J Warns Insulin Pumps Vulnerable to Cyber Hacking
BUSINESS
REMEDIES

## Slide 35
SPECIAL SECTION ON CYBERSECURITY FOR DIABETES DEVICES
MARCH, 2017 ISSUE

## Slide 37
Remote option and Easy Bolus are enabled
Remote controller ID is registered to pump
Hacker is near with a sniffer during a bolus
User ignores the bolus alert (beep / vibrate)
RISK FACTORS

## Slide 38
Remote option and Easy Bolus are enabled
Remote controller ID is registered to pump
Hacker is near with a sniffer during a bolus
User ignores the bolus alert (beep / vibrate)
RISK FACTORS
Turn off Easy Bolus when it is not needed
Be attentive to Easy Bolus dosing alert
RISK MINIMIZATION STEPS

## Slide 39
HOW TO ACHIEVE CYBERSECURITY FOR WEARABLE DEVICES

## Slide 40
“NIST shall lead the development of a framework to reduce cyber risks to critical infrastructure (the Cybersecurity Framework).”

## Slide 41
CYBERSECURITY ACTIVITIES AND OUTCOMES ACROSS
CRITICAL INFRASTRUCTURE SECTORS

## Slide 42
CYBERSECURITY ACTIVITIES AND OUTCOMES ACROSS
CRITICAL INFRASTRUCTURE SECTORS

## Slide 43
FRAMEWORK CORE
CYBERSECURITY ACTIVITIES
NIST

## Slide 45
16 CRITICAL INFRASTRUCTURE SECTORS
WHICH ARE VITAL TO THE UNITED STATES

## Slide 47
APRIL 12, 2018
FDA 2018 PLANS
Patch updates
Software bill of materials
Coordinated disclosures
Cyber Safety Board

## Slide 49
AHA RESPONSE
“Supported lifetime” idea for new devices
Mfrs must build capability to update and patch device security into product design
FDA must ensure security of legacy devices
FDA to coordinate coordinated disclosures

## Slide 51
APRIL 12, 2018
FDA 2018 PLANS
Patch updates
Software bill of materials
Coordinated disclosures
Cyber Safety Board
ADVAMED RESPONSE
Patching is a shared duty of mfrs and Health Delivery Orgs
Software BOMs must be secure
Real world data – not surveillance data for safety
Cyber Safety Board members could have conflicts of interest
ADVAMED RESPONSE

## Slide 52
App nutrition labels? Hackers disagree on software bill of materials
What if software came with a list of ingredients, a
digital equivalent of gluten or peanuts? This list would indicate vulnerability to
hackers.

## Slide 53
Medical Device Security Requires
Collaborative Action from Industry
August 10, 2018
“Manufacturers ought to be able to tell their customers what software is in the product being sold. This will enable the security teams at the customer to better manage their security as part of their asset management program,” said Greg Garcia.

## Slide 55
First Published August 6, 2018

## Slide 58
DIABETES TECHNOLOGY CYBERSECURITY STANDARD FOR CONNECTED DEVICES

## Slide 59
THE DOCTOR ON A QUEST TO SAVE OUR MEDICAL DEVICES FROM HACKERS

## Slide 60
WHITE HOUSE HEALTH AND CYBERSECURITY
ROUNDTABLE FOR HOSPITALS AND MEDICAL DEVICES DECEMBER 11, 2015

## Slide 61
PRESS RELEASE
New Standard to Raise Confidence in the Security of
Network-Connected Medical Devices through Expert Evaluation

## Slide 65
May 22, 2018 - Diabetes Technology Society (DTS) is pleased to announce
that the Steering Committee members of the Diabetes Technology Society
Mobile Platform Controlling a Diabetes Device Security and Safety
Standard (DTMoSt) project have developed the DTMoSt Guidance for Use
of Mobile Devices in Diabetes Control Contexts.
New Standard Provides Security Guidance for Consumer
Mobile Phones Controlling Diabetes Devices

## Slide 67
DTMoSt Diabetes Technology Society Mobile Platform
Controlling a Diabetes Device Security and Safety Guidance

## Slide 68
Whitelisting CMDs
Real Time Control
Resource Availability
Personal Area Network

## Slide 69
Underwriters
Laboratories Inc.
The Institute of Electrical and Electronics Engineers

## Slide 70
DTSec & DTMoSt
PROVIDE
ASSURANCE
HOSPITALS
REGULATORS
PATIENTS
PAYERS
HEALTHCARE
PROFESSIONALS

## Slide 71
BEST SELLING AUTHOR OF DATA AND GOLIATH

## Slide 72
It’s only a matter of time before hackers kill people directly by causing malfunctions in Internet-connected medical devices with catastrophic results. Government-mandated standards for all Internet-connected devices are needed with easy upgrades for newly discovered security flaws.
BEST SELLING AUTHOR OF DATA AND GOLIATH

## Slide 73
WHY HOSPITAL DIABETES
DEVICES MUST
BE SECURE

## Slide 74
SECURITY BREACH

## Slide 75
MORBIDITY
SECURITY BREACH

## Slide 76
LITIGATION
SECURITY BREACH

## Slide 77
GOVERNMENT
PENALTIES
SECURITY BREACH

## Slide 78
INSURANCE COSTS
SECURITY BREACH

## Slide 79
BAD PUBLICITY
SECURITY BREACH

## Slide 80
RANSOMWARE

## Slide 81
WannaCry Ransomware on a
Bayer Radiology System: May 13, 2017

## Slide 82
RANSOMWARE HACK NETS $45,000

## Slide 83
The medical-testing giant Laboratory Corp. of America is dealing with a broad cyberattack, people familiar with the matter said, the latest breach to disrupt companies that hold sensitive information.

## Slide 84
HOW TO ACHIEVE CYBERSECURITY FOR HOSPITAL DEVICES

## Slide 85
SEVEN STEPS TO PREVENT HOSPITAL CYBERSECURITY BREACHES
1)
2)
3)
4)
5)
6)
7)
Train all employees to promote security
Inventory all devices and prioritize by risks and PHI content
Control access (password & physical security)
Protect devices with updated software, patches, AVS, and network firewalls
Have a plan in case of attack
Include security specifctns in vendor contracts
Join an information sharing organization
1)
2)
3)
4)
5)
6)
7)

## Slide 86
Managing health information security
goes beyond IT to INFORMATION GOVERNANCE, which shifts the.. focus from technology.. to people, processes,
and policies.

## Slide 87
You didn’t take the bait!
CONGRATULATIONS!
You have successfully recognized
a phishing test message. Your ability
to identify suspicious messages will
help protect our patients, organization,
and your own information.

## Slide 88
DETERMINATION OF RISK SEVERITY
IMPACT
LIKLIHOOD

## Slide 89
MULTIFACTOR
ACCESS CONTROL
Biometric
Card or Tag
Password
Biometric

## Slide 90
Don’t Touch That Flash Drive!
You Have No Idea Where It’s Been.
Notes: 60% plugged in flash drives from a DHS parking lot. 45% plugged in flash drives U of Illinois. Stuxnet. Edward Snowden.

## Slide 92
Software maintenance =
Jet Engine maintenance

## Slide 93
A RESPONSE PLAN, ACTIVITIES, AND SYSTEM OUTCOMES FOR A CYBER ATTACK

## Slide 94
“Articulating a set of minimum medical
device cybersecurity requirements across
the life cycle, will give manufacturers and health delivery organizations a common baseline to build, buy, and
operate against.”
Vendor Contracts

## Slide 95
NATIONAL HEALTH INFORMATION SHARING AND ANALYSIS CENTER

## Slide 96
January 5, 2017

## Slide 97
January 5, 2017
The best time to prepare for a disaster is before it occurs.

## Slide 99
MEDICAL DEVICE
CYBERSECURITY IS THE
NUMBER ONE HEALTHCARE
PROBLEM IN THE US,
POTENTIALLY AFFECTING
THE SAFETY AND PRIVACY
OF EVERY AMERICAN

## Slide 100
THE TIME FOR MANUFACTURERS TO BUILD
SECURE SYSTEMS AND FOLLOW CYBERSECURITY STANDARDS IS OW
NOW